## Sheet 1
ERRORS, ADVERSE EVENTS AND NEAR MISSES INVOLVING IONISING RADIATION
Final Coding Taxonomy - use in conjunction with the Reporting Template
Severity (1 - 3)
Level 1 – Error - reportable to appropriate authority
Level 2 – Error - non-reportable (statutorily)
Level 3 - Near miss
Exposure Type (1 - 4)
1. Medical Exposure
2. Non medical imaging using medical radiological equipment
3. Research
4. Health screening programmes
Performed Modality (1 - 7)
1 - General radiology
2 - Computed Tomography only |  | does not include RT planning exposures
3 - Nuclear Medicine and / SPECT / PET-CT |  | including Nuclear Cardiology
4 - Fluoroscopy |  | see guidance notes for screening insertion of radioisotope as part of a nuclear medicine procedure
5 - Mammography
6 - DXA
7 - Interventional radiology |  | including Gastro-Intestinal, Vascular and Cardiac (see guidance notes)
Intended Modality (A - I)
A - General radiology
B - Computed Tomography only |  | does not include RT planning exposures
C - Nuclear Medicine and / SPECT / PET-CT |  | including Nuclear Cardiology
D - Fluroscopy |  | see guidance notes for screening insertion of radioisotope as part of a nuclear medicine procedure
E - Mammography
F - DXA
G - Interventional radiology |  | including Gastro-Intestinal, Vascular and Cardiac (see guidance notes)
H - MRI
I - Ultrasound
Duty Holders (1 - 5)
1 - Employer
2 - Referrer
3 - Practitioner
4 - Operator
5 - None
Final code example to be detailed in the Reporting Template: DH?/T1?/ T2?/CF? - (?) Relates to numbers & letters in the Coding Taxonomy. Two T's for Tier 1 and Tier 2
Error Taxonomy
Tier 1 – Primary Code - the point in the pathway that the error first occurred
Tier 2 – Secondary Code - What went wrong? - the detail of the error
Tier 1 = Primary Classification Tier 2 = Secondary Classification
1.EMPLOYER
Tier 1 |  | Tier 2
1 Employers responsibility |  | a) Lack of procedures
b) Inadequate procedures
c) Inadequate authorisation / justification guidelines
d) Inadequate Referral criteria
e) Inadequate staff training & supervision
f) Lack of Optimisation
|  | g) Equipment not fit for purpose | e.g. Out dated equipment (exceeding AXREM/COCIR recommended age)
h) Lack of Employer License for nuclear medicine
2. REFERRER | Referral type: | a) In-patient referral
b) Out-patient / Clinic referral
c) A&E patient referral
d) GP patient referral
e) Non medical imaging using medical radiological equipment
f) Research patient referral
g) Screening
|  | h) Other: Free text | non medical referrers, dentists, etc
Tier 1 |  | Tier 2
1 Wrong patient
2 Wrong requested modality
3 Wrong anatomy |  | a) Laterality / Side
b) Region
4 Wrong timing |  |  | exam performed earlier / later than required (see guidance note)
5 Referral information |  | a) Insufficient/inaccurate demographic information
|  | b) Insufficient/inaccurate clinical information | includes contrast allergy, blood results, path results / missing prep information or failure to bowel prep etc
c) Does not meet referral criteria
|  | d) Illegible handwriting | includes a signature that cannot be read
e) Pregnancy status not checked
f) Request not signed / dated
g) Duplicate; no check of previous imaging
h) Failure to cancel a request made in error
6 Patient preparation |  | a) Psychological preparation (including consent) | see guidance note
|  | b) Physical preparation | see guidance note
7 Working outside of Scope of Practice |  |  | see guidance note
8 Non-entitled Referrer |  |  | see guidance note
3. PRACTITIONER | Grade / Job Role of Practitioner: | a) Consultant Radiologist
b) Practitioner licence holder
c) Radiology SpR
d) Cardiologist
e) Radiographer
f) Other: Free text
Tier 1 |  | Tier 2
1 Justification |  |  | inappropriate justification (see guidance note)
2 Modality |  |  | wrongly justified modality (see guidance note)
3 Protocol |  | a) Incorrect protocol
b) Illegible / unclear protocol
|  | c) Incorrect protocol timing/phase | see guidance note
4 Practitioner Safety Checks |  | a) Patient ID error
b) Imaging history check failure
c) Contraindication or allergy checks error
5 Working outside of Scope of Practice |  |  | see guidance note
6 Non-entitled Practitioner |  |  | see guidance note
4. OPERATOR(S) | Grade / Job Role of operator: | a) Consultant Radiologist
b) Radiology SpR
c) Radiographer
d) Medical Physicist
e) Assistant Practitioner
f) Trainee under supervision of Operator
g) Clinical Technologist
h) Radio-pharmacy staff
i) Cardiologist
j) Surgeon
|  | k) Other: Free text | e.g. dentist, nurse, odp, other hospital doctor
Tier 1 |  | Tier 2
1 Patient safety checks |  | a) Patient ID error
b) Failure to check pregnancy
c) Pregnancy check error (e.g. not recorded)
|  | d) Unknown / Undeclared pregnancy | see guidance note
|  | e) Failure to check breastfeeding (NM only) | does not include MR contrast agent checks or where contrast agents are a part of breast feeding policy, see guidance note
2 Clinical history |  | a) Imaging history check failure
b) Failure to identify duplicate referral
c) Contraindications, preparation, medication check failure (e.g. allergies)
|  | d) Check patient information given and consent given | consent to examination including routine procedures, e.g. do patients understand the dose, benefits, risks
3 Exam authorisation |  | a) Misinterpretation of clinical information
b) Wrongly authorised - wrong modality
c) Wrongly authorised - wrong protocol
|  | d) Wrongly authorised - wrong timing | see guidance note
4 Pre-exposure safety checks |  | a) Inappropriate use of equipment (e.g. wrong AEC)
b) Wrong protocol selection
|  | c) Wrong patient position/set-up | e.g.CT feet first/head first, prone/supine, wrong internal/external lights
d) Wrong laterality / side
|  | e) Wrong anatomy / anatomy missed | excluding technical repeats
f) Wrong exposure parameters
5 Pharmaceutical/Contrast preparation |  | a) QC issue
b) Wrong pharmaceutical
c) Wrong concentration/volume
d) Wrong radioactivity (NM only)
|  | e) Wrong timing | see guidance note
6 Pharmaceutical/contrast administration |  | a) Wrong pharmaceutical
b) Wrong radioactivity (NM only)
|  | c) Wrong timing | see guidance note
|  | d) Contrast delivery issue | pump misfires, failure to connect to patient/etc.
|  | e) Extravasation/misadministration | see guidance note
7 Equipment |  | a) Handover issue (e.g. changes to protocol) | see guidance note
b) QC/Calibration issue
c) Training issue
|  | d) Image loss | see guidance note
|  | e) IT error | see guidance note
|  | f) Local changes to protcol | see guidance note
8 Post-processing |  | a) No/inadequate images on PACS | see guidance note
|  | b) Images in wrong patient folder | see guidance note
|  | c) Wrong image date/time | see guidance note
|  | d) Wrong laterality markers | see guidance note
e) Wrong orientation
f) Incorrect labelling of images
g) Failure to post-process
h) Processing data incorrectly
i) Failure to complete exam in RIS
j) Failure to flag exam to reporting work list
9 Reporter or reporting system |  | a) Failure to undertake clinical evaluation
b) Inaccurate / discrepancy report leading to a repeat exposure
c) Failure to escalate unexpected findings
d) Incorrect reporting work list evaluation
10 Working outside of Scope of Practice |  |  | see guidance note
11 Non-entitled Operator |  |  | see guidance note
5. None |  | a) Equipment related | see guidance note
|  | b) Patient related | see guidance note
Contributory Factors
CF1 Individual |  | a) Failure to recognise hazard (knowledge-based etc.)
b) Decision making process (rule-based or old or invalid rule used etc.)
c) Slips and lapses (skill-based, involuntary automaticity etc.)
d) Communication (inaccuracy or omission of verbal, written etc.)
e) Violation (deliberate action, acting outside scope etc.)
CF2 Procedural |  | a) No procedures / protocols (not in place or unavailable etc.)
b) Inadequate procedures / protocols
c) Process design (impractical and inefficient processes etc.)
CF3 Technical |  | a) Equipment or IT network failure (including accessories)
b) Commissioning/ calibration/ maintenance (including accessories)
c) Device / Product design
CF4 Patient related |  | a) Medical condition (inability to remain still etc.)
b) Communication with the patient (language issues, comprehension etc.)
c) Non-compliance
CF5 Teamwork/Management/Organisational |  | a) Inadequate leadership (inadequate supervision, congruence or consistency etc.)
b) Unclear responsibilities and lines of accountability
c) Inadequate capital resources (equipment in use no longer fit for purpose etc.)
d) Inadequate staffing (insufficient staffing levels or skill mix)
e) Inadequate training (inadequate or lack of training etc.)
f) Inadequate risk assessment (poor change management etc.)
CF6 Environmental |  | a)Physical (power cut, control area excessively noisy, distractions etc.)
b)Natural factors (fire, flood etc.)
CF7 Other |  | a) Other (free text)

## Sheet2
Code | 1.1 B2.1 X
1.1 Employers responsibility | b) Inadequate procedures | 1.1 B
2.1 Wrong Patient | No | 2.1 X
2.2 Wrong Modality Requested | c) CT in error

## Sheet3
1.1 |  | 2.1 |  | 2.2
|  |  |  | a) General radiography in error | 2.2 A
a) Lack of procedures | 1.1 A | Yes | 2.1 Y | b) Fluoroscopy/interventional in error | 2.2 B
b) Inadequate procedures | 1.1 B | No | 2.1 X | c) CT in error | 2.2 C
c) Inadequate authorisation / justification guidelines | 1.1 C |  |  | d)MRI in error | 2.2 D
d) Inadequate Referral criteria | 1.1 D |  |  | e) Ultrasound in error | 2.2 E
e) Inadequate Staff training & supervision | 1.1 E |  |  | f) Mammography in error | 2.2 F
f) Lack of Optimisation | 1.1 F |  |  | g) Nuclear Medicine in error | 2.2 G
|  |  |  | h) DXA in error | 2.2 H